Riley et al. (2026) – Supplementary Material

South Georgia in a West Gondwana context: detrital zircon geochronology of a late Permian accretionary complex

Analytical procedures

S1. U-Pb zircon geochronology

NordSIMS analytical facility (Swedish Museum of Natural History, Stockholm)

Zircons (M.1683CMB2.12, M.2042.1d) were separated and concentrated from rock samples at the British Antarctic Survey, Cambridge. From the zircon concentrate, hand-picked grains were mounted in epoxy resin along with the Geostandards zircon 91500 (207Pb/206Pb age of 1065.4 ± 0.3 Ma), which has reported U and Pb concentrations of 80 ppm and 15 ppm, respectively (Wiedenbeck et al., 1995). The mount was polished to expose the centres of the grains and imaged by SEM using a cathodoluminescence (CL) detector in order to reveal their internal structure and guide analysis location. U-Pb ion-microprobe zircon geochronology was carried out using a CAMECA 1280 ion microprobe at the NordSIMS facility. The analytical method closely followed Whitehouse and Kamber (2005) but differed insomuch that the oxygen ion primary beam was generated using a high-brightness, radiofrequency plasma ion source (Oregon Physics, Hyperion II) rather than a duoplasmatron, and a focused beam instead of illuminated aperture. The 10 nA O2- beam was rastered over 5x5 µm to homogenize beam density, the final analytical spot size being ~15 µm in diameter. Sputtered secondary ions introduced into the mass spectrometer were analysed using a single ion counting electron multiplier over 10 cycles of data. Data were reduced using in-house developed software. The power law relationship between 206Pb/238U16O and 238U16O2/238U16O measured from the 91500 standard was used to calibrate U/Pb ratios following the recommendations of Jeon and Whitehouse (2015). Common-Pb corrections were applied to analyses where statistically significant 204Pb was detected, using the present-day terrestrial common-Pb estimate of Stacey and Kramers (1975). Terra-Wasserburg U-Pb concordia diagrams were drawn using Isoplot v. 4.15 (Ludwig, 2012). 207Pb corrected ages were calculated assuming non-radiogenic Pb was from surface contamination and had an isotopic composition of modern-day average terrestrial common-Pb (207Pb/206Pb = 0.836; Stacey and Kramers, 1975). Representative reflected light images are presented in Supplementary Figure 1.

In order to increase the accuracy of SIMS data, U/Pb calibration using the primary 91500 zircon reference material followed the recommendations of Jeon and Whitehouse (2015), which was monitored by secondary M257 zircon reference material, which yielded an age of 564.6±1.9 Ma (MSWD = 0.59, n =26, at 95% confidence level) during the analytical session against the reported age of 561.3±0.3 Ma (Nasdala et al., 2008).

London Geochronology Centre (University College London, London)

Zircon U–Pb geochronology (M.2022.1a, M.2025.3, M.4131.15, M.2171.8b) used laser ablation inductively coupled mass spectrometry (LA-ICP-MS) facilities (Agilent 7700 coupled to a New Wave Research 193 nm excimer laser) at the London Geochronology Centre. Heavy minerals were separated from bulk sediment samples using standard density liquid and magnetic separation procedures. Zircon-enriched extracts were mounted in hard epoxy resin on glass slides and polished for analysis. Detrital zircon analysis used impure heavy mineral concentrations to prevent the introduction of bias by intensive preparation, such as hand picking. Each heavy mineral-rich mount was scanned and zircon selected for analysis.  In some cases, the analysed grains were not zircon and these data were removed, just as discordant data that showed disrupted time resolved signals (due to e.g., weathered fractures, inclusions, mixed growth zones). In most samples rejections constituted < 10-15% of spot analyses. Typical laser spot sizes of 25 µm were used with a 7–10 Hz repetition rate and a fluence of 2.5 J/cm2. Background measurement before ablation lasted 15 seconds and laser ablation dwell time was 25 seconds. The external zircon standard was Plešovice, which has a TIMS reference age of 337.13±0.37 Ma (Sláma et al., 2008). Standard errors on isotope ratios and ages included the standard deviation of 206Pb/238U ages of the Plešovice standard zircon. Time-resolved signals that record isotopic ratios with depth in each crystal were processed using GLITTER 4.5, developed by the ARC National Key Centre for Geochemical Evolution and Metallogeny of Continents (GEMOC) at Macquarie University and CSIRO Exploration and Mining, Australia. Processing enabled filtering to remove spurious signals owing to overgrowth boundaries, weathering, inclusions, or fractures. Ages were calculated using the 206Pb/238U ratios for samples dated as <1.1 Ga, and the 207Pb/206Pb ratios for older grains. Discordance was determined using (207Pb/235U - 206Pb/238U)/(206Pb/238U) and similar for 207Pb/206Pb ages.

All results are presented in the Supplementary Table S1.

S2. Lu-Hf isotope analysis

Isotope analyses were carried out at the British Geological Survey using a Thermo Scientific Neptune Plus MC-ICP-MS coupled to a New Wave Research UP193UC Excimer laser ablation system. Helium was used as the carrier gas through the ablation cell with Ar make-up gas being connected via a T-piece and sourced from a CETAC Aridus II desolvating nebulizer. 0.01 l/min of nitrogen were introduced via the nebulizer in addition to Ar in order to minimize oxide formation. Lutetium (175Lu), Ytterbium (172Yb, 173Yb), and Hafnium (176Hf, 178Hf, 179Hf, 180Hf) isotopes were measured simultaneously during static 30 second ablation analyses. The spot size used was 25 µm with a fluence of 8 J/cm2.

Hf reference solution JMC475 was analysed during the analytical session and sample 176Hf/177Hf ratios were reported relative to a value of 0.282160 for this standard. Correction for 176Yb on the 176Hf peak was made using reverse-mass-bias correction of the 176Yb/173Yb ratio empirically derived using Hf mass-bias corrected Yb-doped JMC475 solutions (Nowell and Parrish, 2001). 176Lu interference on the 176Hf peak was corrected by using the measured 175Lu and assuming a 176Lu/175Lu of 0.02653.

Hf-isotope data was processed using the Iolite data reduction package (Paton et al., 2011). Three zircon reference materials (91500, Mud Tank, GJ1) were analysed throughout the analytical session. The 91500 zircon reference material was used as the primary standard in Iolite, and was used to normalize the 176Lu/177Hf ratio assuming a value of 0.000311 (Woodhead and Hergt, 2005). Analytical uncertainties for unknowns were propagated by quadratic addition to include the standard error of the mean of the analysis and the reproducibility of the 91500 reference material. εHf values were calculated using a 176Lu decay constant of 1.867x10-11 y-1 (Söderlund et al., 2004), a present-day chondritic 176Lu/177Hf value of 0.0336, and a 176Hf/177Hf ratio of 0.282785 (Bouvier et al., 2008).

Given that CL zoning may be related to Hf composition, it is of value to recognize the presence of inherited cores that are unrelated to the main magmatic zircon growth. With the benefit of interpretable CL images prior to analysis, any extreme excursions (i.e., sudden steps in the Hf ratios) were eliminated during analysis, so that only the initial potion of the analysis was retained, and that was linked with the CL image and age. Any variation of magmatic evolution cannot be evaluated, but the ranges of eHf in the different groupings/clusters with similar ages may reflect variation during crystallization. In any case, within an individual zircon it is unlikely to exceed the uncertainties of the laser ablation analysis.

References

Bouvier, A.; Vervoort, J.D.; Patchett, P.J. 2008. The Lu–Hf and Sm–Nd isotopic composition of CHUR: constraints from unequilibrated chondrites and implications for the bulk composition of terrestrial planets. Earth and Planetary Science Letters 273(1): 48-57. https://doi.org/10.1016/j.epsl.2008.06.010

Jeon, H.; Whitehouse, M.J. 2015. A critical evaluation of U-Pb calibration schemes used in SIMS zircon chronology. Geostandards and Geoanalytical Research 39(4): 443-452. https://doi.org/10.1111/j.1751-908X.2014.00325.x

Ludwig, K.R. 2012. User’s manual for Isoplot version 3.75-4.15: a geochronological toolkit for Microsoft Excel. Berkeley Geochronological Center, Special Publication 5, 75 p.

Nasdala, L.; Hofmeister, W.; Norberg, N.; Martinson, J.M.; Corfu, F.; Dörr, W.; Kamo, S.L.; Kennedy, A.K.; Kronz, A.; Reiners, P.W.; Frei, D.; Kosler, J.; Wan, Y.; Götze, J.; Häger, T.; Kröner, A.; Valley, J.W. 2012. Zircon M257 – a homogeneous natural reference material for Ion Micropobe U-Pb analysis of zircon. Geostandards and Geoanalytical Research 32(3): 247-265. https://doi.org/10.1111/j.1751-908X.2008.00914.x

Nowell, G.M.; Parrish, R.R. 2001. Simultaneous acquisition of isotope compositions and parent/daughter ratios by non-isotope dilution-mode Plasma Ionisation Multi-collector Mass Spectrometry (PIMMS). In Plasma Source Mass Spectrometry: the new millennium (Holland, G.; Tanner, S.D.; eds.). Royal Society of Chemistry, Special Publication 267, pp. 298-310.

Paton, C.; Hellstrom, J.; Paul, B.; Woodhead, J.; Hergt, J. 2011. Iolite: freeware for the visualisation and processing of mass spectrometric data. Journal of Analytical Atomic Spectrometry 26(12): 2508-2518. https://doi.org/10.1039/C1JA10172B

Sláma, J.; Košler, J.; Condon, D.J.; Crowley, J.L.; Gerdes, A.; Hanchar, J.M.; Horstwood, M.S.A.; Morris, G.A.; Nasdala, L.; Norberg, N.; Schaltegger, U.; Schoene, B.; Tubrett, M.N.; Whitehouse, M.J. 2008. Plešovice zircon – a new natural reference material for U-Pb and Hf isotopic microanalysis. Chemical Geology 249(1-2): 1-35. https://doi.org/10.1016/j.chemgeo.2007.11.005

Söderlund, U.; Patchett, P.J.; Vervoort, J.D.; Isachsen, C.E. 2004. The 176Lu decay constant determined by Lu–Hf and U–Pb isotope systematics of Precambrian mafic intrusions. Earth and Planetary Science Letters 219(3-4): 311-324. https://doi.org/10.1016/S0012-821X(04)00012-3

Stacey, J.S.; Kramers, J.D. 1975. Approximation of terrestrial lead isotope evolution by a two-stage model. Earth and Planetary Science Letters 26(2): 207-221. https://doi.org/10.1016/0012-821X(75)90088-6

Vermeesch, P. 2018. IsoplotR: a free and open toolbox for geochronology. Geoscience Frontiers 9(5): 1479-1493. https://doi.org/10.1016/j.gsf.2018.04.001

Vermeesch, P. 2021. Maximum depositional age estimation revisited. Geoscience Frontiers 12(2): 843-850. https://doi.org/10.1016/j.gsf.2020.08.008.

Whitehouse, M.J.; Kamber, B.S. 2005. Assigning dates to thin gneissic veins in high-grade metamorphic terranes: a cautionary tale from Akilia, southwest Greenland. Journal of Petrology 46(2): 291-318. https://doi.org/10.1093/petrology/egh075

Wiedenbeck, M.; Allé, P.; Corfu, F.; Griffin, W.L.; Meier, M.; Oberli, F.; Von Quadt, A.; Roddick, J.C.; Spiegel, W. 1995. Three natural zircon standards for U-Th-Pb, Lu-Hf, trace element and REE analyses. Geostandards Newsletter 19(1): 1-23. https://doi.org/10.1111/j.1751-908X.1995.tb00147.x

Woodhead, J.D.; Hergt, J.M. 2005. A preliminary appraisal of seven natural zircon reference materials for in situ Hf isotope determination. Geostandards and Geoanalytical Research 29(2): 183-195. https://doi.org/10.1111/j.1751-908X.2005.tb00891.x

Supplementary figures (see attached files)

Figure S1. Representative high-contrast zircon SEM images illustrating zoning and spot locations for sample M.1683CMB2.12.

Figure S2. Radial density plots to determine maximum depositional age (MDA; Vermeesch, 2021) estimates for six samples from the Drygalski Fjord Complex (South Georgia). Calculated with IsoplotR (Vermeesch, 2018).

Supplementary tables (see attached files)

Table S1. Zircon U-Pb geochronology data.

Table S2. Lu-Hf isotope data.

Table S3. Data sources for MDS and age distribution plots.